## Final
Estates Development - Renewables: Sites in Planning, with Planning consent, Construction and Operational on the Scotland's National Forests
2026-03-01
Technology Type | Simple Status | Scheme Name | Planning Authority | Local Authority | Developer | Eastings | Northings | Development Size (MW)
Hydro | A - Operational | Abhainn Achachoish, Corranbuie | Argyll & Bute | Argyll and Bute | H2O Hydro ltd. | 185325 | 665821 | 0.08
|  | Abhainn Gleann nam Fiadh | Highland Council | Highland | Green Highland Gleann nam Fiadh (385) Ltd. | 219397 | 825930 | 2
|  | Abhainn Greadhain | Highland Council | Highland | LEG Power Lochaber Ltd | 204609 | 757963 | 0.5
|  | Abhainn Shalachain | Highland Council | Highland | Elementary Energy Ltd. | 162091 | 748153 | 0.47
|  | Allt a' Chaitchinn or Achlain | Highland Council | Highland | Highland Eco-Design Ltd | 227755 | 812231 | 0.1
|  | Allt a' Chonais (Strathcarron) | Highland Council | Highland | Chonais Hydro Ltd. | 204775 | 849233 | 1.99
|  | Allt a Mhuilinn | Highland Council | Highland | Lochbroom Community Renewables Ltd | 219372 | 882154 | 0.1
|  | Allt achadh na moine (Garmony) | Argyll & Bute | Argyll and Bute | Mull & Iona Community Trust | 166876 | 738874 | 0.4
|  | Allt an Laghain / Our Ref. FC3 | Highland Council | Highland | Highland Eco-Design Ltd | 229736 | 797221 | 0.5
|  | Allt an t-Sidhein | Highland Council | Highland | Hydro Ludens Holdings Limited | 229950 | 796100 | 0.5
|  | Allt Beochlich | Argyll & Bute | Argyll and Bute | Thrive Renewables (Beochlich) Limited | 202455 | 715125 | 0.998
|  | Allt Cheanna Mhuir | Highland Council | Highland | Green Highland Renewables (Achnacarry) Ltd. | 210480 | 791490 | 0.5
|  | Allt Choille-rais | Highland Council | Highland | GHH Newco Ltd | 220750 | 776180 | 1.1
|  | Allt Choire a' Bhalachain | Highland Council | Highland | Green Highland Allt Choire a Bhalachain (255) Ltd. | 211766 | 798771 | 0.8
|  | Allt Coire a' Bhainidh | Highland Council | Highland | Osprey Energy Ltd. | 203507 | 847437 | 0.2
|  | Allt Coire Chaorach | Scottish Government (S36) | Stirling | Chaorach Hydro ltd. | 245465 | 727189 | 2
|  | Allt Dearg / Our Ref. FC 53 | Highland Council | Highland | Highland Eco-Design Ltd | 246365 | 861417 | 0.099
|  | Allt Doire nan Sobhrachan | Argyll & Bute | Argyll and Bute | Private owner | 195153 | 706463 | 0.05
|  | Allt Druidhe | Perth & Kinross | Perth and Kinross | Private owner | 264244 | 756984 | 0.1
|  | Allt Easach | Argyll & Bute | Argyll and Bute | GHR Barrs Hydro Ltd | 206220 | 741580 | 2
|  | Allt Eilidh | Argyll & Bute | Argyll and Bute | Osprey Energy Ltd. | 206697 | 752455 | 0.7
|  | Allt Garaidh Ghualaich - upper | Highland Council | Highland | Hydro Ludens Holdings Limited | 215368 | 798145 | 1.164
|  | Allt Garaidh Ghualaich (Garry Gualach) | Highland Council | Highland | TLS Hydro Power Ltd | 216615 | 799817 | 0.78
|  | Allt Garbh | Highland Council | Highland | Green Highland Allt Garbh | 218257 | 821515 | 1.5
|  | Allt Ladaidh | Highland Council | Highland | Green Highland Allt Ladaidh (1148) Ltd | 222872 | 800372 | 1.35
|  | Allt Lararidh or Lairairidh | Highland Council | Highland | Green Highland Allt Phocachain (1015) Ltd. | 234700 | 816330 | 0.5
|  | Allt Luaidhe | Highland Council | Highland | Green Highland Allt Luaidhe (228) Ltd. | 244171 | 813819 | 0.5
|  | Allt Mhuic | Highland Council | Highland | Hydro Ludens Holdings Limited | 212250 | 791600 | 0.95
|  | Allt na Fearna | Highland Council | Highland | Osprey Energy Ltd. | 235350 | 809300 | 0.099
|  | Allt na Sidhean Guisachan | Highland Council | Highland | Private owner | 228900 | 824700 | 0.05
|  | Allt nan Cnocan - SE of Cnoc Madaidh- Glen Finart | Loch Lomond and Trossachs National Park | Argyll and Bute | Co-Hydrover Consortium Ltd. | 216690 | 692000 | 0.2
|  | Allt Phocachain | Highland Council | Highland | Green Highland Allt Phocachain (1015) Ltd. | 232483 | 811181 | 0.5
|  | Allt Stronyre | Loch Lomond and Trossachs National Park | Stirling | BV Renewables | 255591 | 714670 | 0.1
|  | Balnacarn Burn | Highland Council | Highland | DHG Hydro | 227431 | 813717 | 0.7
|  | Barr River - NFLS | Highland Council | Highland | Morvolts Ltd | 161652 | 755904 | 1.6
|  | Benmore Burn Benmore Home Farm | Loch Lomond and Trossachs National Park | Stirling | Private owner | 241732 | 725048 | 0.495
|  | Braevallich (Allt Bheallach) | Scottish Government (S36) | Argyll and Bute | RWE Generation UK plc | 197260 | 706144 | 2.27
|  | Bruach Chaorainn Burn | Loch Lomond and Trossachs National Park | Stirling | Bruach Chaorainn Hydro Ltd. | 241059 | 700250 | 1.118
|  | Buchan Burn | Dumfries & Galloway | Dumfries and Galloway | Private owner | 241844 | 580445 | 0.006
|  | Burn of Achlais | Stirling | Stirling | Community Project | 245600 | 691160 | 0.16
|  | Burnmakiman Burn Dunoon | Argyll & Bute | Argyll and Bute | Co-Hydrover Consortium Ltd. | 214437 | 672115 | 0.1
|  | Callop penstock (formerly Allt na Cruaiche) | Highland Council | Highland | Conaglen Estate | 192242 | 777087 | 0.5
|  | Carie | Perth & Kinross | Perth and Kinross | GreenPower Developments Ltd | 261602 | 756319 | 0.5
|  | Cia Aig | Scottish Government (S36) | Highland | RWE Generation UK plc | 217609 | 788996 | 3
|  | Cladach Burn | Dumfries & Galloway | Dumfries and Galloway | SSE Renewables Developments UK Ltd | 200870 | 638980 | 0.01
|  | Coire Ealt Burn | Loch Lomond and Trossachs National Park | Argyll and Bute | Gilkes Energy | 214255 | 695985 | 0.5
|  | Cuil Burn, Loch long | Loch Lomond and Trossachs National Park | Argyll and Bute | Co-Hydrover Consortium Ltd. | 217362 | 688251 | 0.093
|  | Domnaheiche | Perth & Kinross | Perth and Kinross | Private owner | 279067 | 757392 | 0.043
|  | Donich Water | Loch Lomond and Trossachs National Park | Argyll and Bute | Broadland Renewable Construction Ltd | 222209 | 702234 | 1.35
|  | Douglas Water | Scottish Government (S36) | Argyll and Bute | RWE Generation UK plc | 204852 | 706197 | 3
|  | Drynain Burn - Ardentinny | Loch Lomond and Trossachs National Park | Argyll and Bute | Private owner | 216725 | 689024 | 0.1
|  | Duror 1 | Highland Council | Highland | H2O Power Generation Ltd. | 201249 | 754233 | 0.69
|  | Duror Extension | Highland Council | Highland | H2O Power Appin Ltd | 201060 | 755300 | 0.1
|  | Eas a' Ghaill | Argyll & Bute | Argyll and Bute | Gilkes Energy | 220656 | 726473 | 1.5
|  | Farr / Uisge Dubh | Highland Council | Highland | Newbie Salmon Fishings ltd. | 271734 | 830974 | 0.5
|  | Feorline Burn | Argyll & Bute | Argyll and Bute | Highland Eco-Design Ltd | 203950 | 696780 | 0.1
|  | Frenich Burn | Perth & Kinross | Perth and Kinross | Frenich Hydro Ltd | 282348 | 757209 | 0.73
|  | Garbhaig 2 | Highland Council | Highland | Garbhaig Hydro Power Company Ltd | 189464 | 870765 | 1.995
|  | Glen Burn - Barbeth | Dumfries & Galloway | Dumfries and Galloway | Private owner | 294974 | 564049 | 0.1
|  | Glen Orchy (Allt Daimh) | Argyll & Bute | Argyll and Bute | Private owner | 226720 | 734370 | 0.09
|  | Glen Righ - Abhainn Righ - Allt Meurach | Highland Council | Highland | Private owner | 207150 | 763200 | 0.1
|  | Glen Skiach | Highland Council | Highland | Wyvis Hydro ltd. | 245217 | 862762 | 0.92
|  | Greenfield Burn | Highland Council | Highland | Hydro Ludens Holdings Limited | 218335 | 797784 | 0.734
|  | Inverarish Burn | Highland Council | Highland | Raasay Development Partnership | 156145 | 836138 | 0.175
|  | Inverlael | Highland Council | Highland | RWE Generation UK plc | 218908 | 885494 | 2.5
|  | Inverliever (River Liever) including Cam Loch | Argyll & Bute | Argyll and Bute | Inverliever Hydro Ltd | 189368 | 706796 | 0.575
|  | Invernoaden | Argyll & Bute | Argyll and Bute | Private owner | 212113 | 698137 | 0
|  | Kames - Eas Mor | Argyll & Bute | Argyll and Bute | Gilkes Energy | 199434 | 710234 | 0.9
|  | Kilkeddan Farm | Argyll & Bute | Argyll and Bute | Private owner | 175792 | 626974 | 0.02
|  | Leacann | Argyll & Bute | Argyll and Bute | DHG Hydro | 201627 | 703516 | 1
|  | Lephincorrach Burn Torrisdale | Argyll & Bute | Argyll and Bute | Torrisdale Estate | 177997 | 635909 | 0.12
|  | Littleton Burn /Our ref: FC153 | Perth & Kinross | Perth and Kinross | Highland Eco-Design Ltd | 299610 | 744681 | 0.1
|  | Loch Spallander | South Ayrshire | South Ayrshire | Scottish Water | 236690 | 609130 | 0.1
|  | Lochan Blar Nan Lochan | Highland Council | Highland | Private owner | 198155 | 752284 | 0.44
|  | Maolachy | Argyll & Bute | Argyll and Bute | Private owner | 189498 | 712869 | 0.02
|  | Merkland burn, Isle of Arran | Isle of Arran | North Ayrshire | Co-Hydrover Consortium Ltd. | 201460 | 639400 | 0.18
|  | Milton Glen Burn | Trossachs National Park | Stirling | Annat Burn Hydro ltd. | 257250 | 706830 | 0.384
|  | Prosen Water | Angus | Angus | Forestry & Land Scotland | 3251500 | 772140 | 0.5
|  | River Avich | Argyll & Bute | Argyll and Bute | Dalavich Improvement Group | 196506 | 714044 | 0.366
|  | River Coiltie | Highland Council | Highland | Coiltie Hydro Ltd. | 249098 | 827885 | 1.99
|  | River Lochy | Argyll & Bute | Argyll and Bute | Gilkes Energy | 221540 | 727132 | 2
|  | Schoolhouse Burn, Loch Long | Loch Lomond and Trossachs National Park | Argyll and Bute | Co-Hydrover Consortium Ltd. | 218040 | 686986 | 0.073
|  | Shenval - Allt Seannbhaile | Highland Council | Highland | Shenval Hydro Ltd. | 239913 | 828653 | 0.5
|  | Stank Burn | Loch Lomond and Trossachs National Park | Stirling | Callander Community Hydro Ltd. | 257958 | 710547 | 0.38
|  | Strathlachlan River | Argyll & Bute | Argyll and Bute | Strathlachlan Hydro Ltd. | 204220 | 697070 | 0.22
|  | Stronchullin | Loch Lomond and Trossachs National Park | Argyll and Bute | Stronchullin Energy Limited | 218102 | 684969 | 0.1
| A - Operational Total | [6 empty] | 58.627
| E - In Planning | Allt Beinn Ime | Loch Lomond & Trossachs National Park - Argyll & Bute Boundary | Argyll and Bute | Beinn Ime Hydropower Ltd | 224600 | 708760 | 0.42
| E - In Planning Total | [6 empty] | 0.42
Hydro Total | [7 empty] | 59.047
Wind | A - Operational | A' Chruach | Argyll & Bute | Argyll and Bute | Nadara Energy Limited | 191754 | 698536 | 42.6
|  | An Suidhe | Argyll & Bute | Argyll and Bute | RWE Renewables UK Developments Ltd | 201552 | 708100 | 19.3
|  | Arecleoch | Dumfries & Galloway | Dumfries and Galloway | Scottish Power Renewables | 217105 | 578484 | 106
|  | Beinn An Tuirc 1 | Argyll & Bute | Argyll and Bute | Scottish Power Renewables | 174457 | 635474 | 9.9
|  | Beinn An Tuirc 2 | Argyll & Bute | Argyll and Bute | Scottish Power Renewables | 172826 | 634697 | 43.7
|  | Beinn An Tuirc 3 | Scottish Government (S36) | Argyll and Bute | Scottish Power Renewables | 174536 | 631721 | 49.95
|  | Black Law | Scottish Government (S36) | South Lanarkshire | Scottish Power Renewables | 288016 | 654123 | 20.7
|  | Blackcraig | Scottish Government (S36) | Dumfries and Galloway | Temporis | 269658 | 582441 | 4.6
|  | Burn of Whilk | Highland Council | Highland | Eneco | 329129 | 941598 | 22.5
|  | Camster | Scottish Government (S36) | Highland | RWE Renewables UK Onshore Wind Ltd | 326033 | 947510 | 22
|  | Clashindarroch | Aberdeenshire Council | Aberdeenshire | Vattenfall Wind Power Ltd | 342777 | 830840 | 36.9
|  | Cruach Mhor | Argyll & Bute | Argyll and Bute | Scottish Power Renewables | 203868 | 688127 | 25.5
|  | Halsary | Highland Council | Highland | Scottish Power Renewables | 318538 | 949194 | 28
|  | Harestanes | Scottish Government (S36) | Dumfries and Galloway | Scottish Power Renewables | 301140 | 595926 | 136
|  | Kilgallioch | Scottish Government (S36) | South Ayrshire | Scottish Power Renewables | 223391 | 575187 | 72.5
|  | Little Clyde | Scottish Government (S36) | South Lanarkshire | SSE Renewables Developments UK Ltd | 299785 | 617057 | 25.3
|  | Mid Hill | Scottish Government (S36) | Aberdeenshire | Fred.Olsen Renewables | 370308 | 785296 | 52.9
|  | Myres Hill | East Renfrewshire | South Lanarkshire | Revolution Energy (Scotland) Ltd | 256991 | 646725 | 2
|  | North Kyle | Scottish Government (S36) | East Ayrshire | North Kyle Wind Energy Hub | 249550 | 611130 | 180
|  | Rothes 2 (Cairn Uish Hill) | Moray Council | Moray | Fred.Olsen Renewables | 317438 | 850366 | 6.9
|  | South Kyle | Scottish Government (S36) | East Ayrshire | Vattenfall Wind Power Ltd | 252611 | 607351 | 72
|  | Stroupster | Highland Council | Highland | Greencoat UK Wind | 333751 | 966190 | 16.1
|  | West Benhar | North Lanarkshire | North Lanarkshire | EDF Energy Renewables | 292274 | 662147 | 30.1
|  | Whitelee 1 | Scottish Government (S36) | East Ayrshire | Scottish Power Renewables | 259056 | 644794 | 163.3
|  | Whitelee 2 | Scottish Government (S36) | East Ayrshire | Scottish Power Renewables | 256656 | 642888 | 192.68
| A - Operational Total | [6 empty] | 1381.43
| B - Commissioning | Camster 2 | Scottish Government (S36) | Highland | RWE Renewables UK Developments Ltd | 329383 | 947770 | 36
| B - Commissioning Total | [6 empty] | 36
| C - Under Construction | Arecleoch Extension | Scottish Government (S36) | South Ayrshire | Scottish Power Renewables | 220702 | 579723 | 74.1
|  | Clashindarroch 2 | Aberdeenshire Council | Aberdeenshire | Vattenfall Wind Power Ltd | 343969 | 833070 | 77
|  | Golticlay | Scottish Government (S36) | Highland | RWE Renewables UK Developments Ltd | 322000 | 940400 | 68.4
|  | Hartwood - formerly Murdostoun | North Lanarkshire | North Lanarkshire | Protium Green Solutions Limited | 284074 | 660494 | 20.5
|  | Pencloe | East Ayrshire | East Ayrshire | Invenergy Services UK Ltd | 260429 | 606473 | 75.6
| C - Under Construction Total | [6 empty] | 315.6
| D - Pre-Construction | Blarghour Farm (Ardchonnel) | Argyll & Bute | Argyll and Bute | Coriolis Energy | 203635 | 714854 | 12
|  | Cairds Hill | Aberdeenshire Council | Aberdeenshire | EDP Renewables UK Limited | 342200 | 847500 | 15
|  | Camilty | West Lothian | West Lothian | Vantage RE Ltd | 307245 | 659407 | 21.5
|  | Clachaig Glen Wind Farm | Scottish Government (S36) | Argyll and Bute | RWE Renewables UK Onshore Wind Ltd | 172737 | 641874 | 50
|  | Glasvaar, formerly Kilmichael | Argyll & Bute | Argyll and Bute | Enerco Energy ¦ EPower Ltd | 189500 | 698700 | 8
|  | Heathland | Scottish Government (S36) | South Lanarkshire | EDF Energy Renewables | 296110 | 656358 | 77.1
|  | Rothes 3 - formerly Elchies | Moray Council | Moray | Fred.Olsen Renewables | 322889 | 845704 | 50
|  | Tangy Wind Farm IV | Argyll & Bute | Argyll and Bute | SSE Renewables Developments UK Ltd | 168450 | 629460 | 16
| D - Pre-Construction Total | [6 empty] | 249.6
| E - In Planning | Aultmore | Aberdeenshire Council | Aberdeenshire | Vattenfall Wind Power Ltd | 344792 | 858458 | 105.6
|  | Breezy Hill | Scottish Government (S36) | East Ayrshire | Brockwell Energy Ltd. | 248200 | 613500 | 75
|  | Brunt Hill | Scottish Government (S36) | Perth and Kinross | Enerco Energy ¦ EPower Ltd | 302850 | 708000 | 28.8
|  | Cloich | Scottish Government (S36) | Scottish Borders | EDF Energy Renewables | 320805 | 647949 | 60
|  | Cnoc Buidhe, formerly Beinn an Tuirc | Argyll & Bute | Argyll and Bute | Belltown Power | 169125 | 631138 | 191
|  | Eredine | Scottish Government (S36) | Argyll and Bute | RWE Renewables UK Developments Ltd | 197927 | 706682 | 85
|  | Euchanhead & Polskeoch | Scottish Government (S36) | Dumfries and Galloway | Scottish Power Renewables | 271150 | 609812 | 104.5
|  | Harestanes South | Dumfries & Galloway | Dumfries and Galloway | Scottish Power Renewables | 299464 | 592074 | 45
|  | Harestanes West | Scottish Government (S36) | Dumfries and Galloway | Scottish Power Renewables | 296395 | 590385 | 123
|  | Inveroykel | Highland Council | Highland | RWE Renewables UK Developments Ltd | 251634 | 896378 | 114
|  | Rivox | Dumfries & Galloway | Dumfries and Galloway | Belltown Power | 302662 | 604002 | 180
|  | South Kyle 2 | East Ayrshire | East Ayrshire | Vattenfall Wind Power Ltd | 252417 | 606423 | 77
|  | Teindland | Scottish Government (S36) | Moray | Locogen Ltd | 328404 | 853411 | 60
| E - In Planning Total | [6 empty] | 1248.9
Wind Total | [7 empty] | 3231.53
Battery Storage | A - Operational | Harestanes Battery Storage | Dumfries & Galloway | Dumfries and Galloway | Scottish Power Renewables | 300950 | 597760 | 50
|  | Whitelee 1 Battery Storage | South Lanarkshire | South Lanarkshire | Scottish Power Renewables | 263523 | 646800 | 50
| A - Operational Total | [6 empty] | 100
| D - Pre-Construction | Clachaig Glen Battery Storage | Argyll & Bute | Argyll & Bute | RWE Renewables UK Onshore Wind Ltd | 172737 | 641874 | 30
| D - Pre-Construction Total | [6 empty] | 30
| E - In Planning | Breezy Hill WF BESS | Scottish Government (S36) | East Ayrshire | Brockwell Energy Ltd. | 248820 | 212300 | 40
|  | Eredine Battery Storage | Scottish Government (S36) | Argyll and Bute | RWE Renewables UK Onshore Wind Ltd | 198140 | 705240 | 50
| E - In Planning Total | [6 empty] | 90
Battery Storage Total | [7 empty] | 220
Pumped Storage | D - Pre-Construction | Coire Glas | Scottish Government (S36) | Highland | SSE Renewables Developments UK Ltd | 222840 | 795100 | 1300
| D - Pre-Construction Total | [6 empty] | 1300
Pumped Storage Total | [7 empty] | 1300
Grand Total | [7 empty] | 4810.577
The scheme size shown here for hydro is the total size of the scheme whilst for wind it is the proportion of the scheme that is on Scotland's National Forests and land. Schemes in planning may change size as a result of discussions with the planning authority.